## Slide 1
21mm
~+-5mm
Actual levels in % or ohm
max
min

## Slide 3
PH, ORP, DO, EC, Temp
Arduino UNO + Tentacle T1 MKII + Atlas scientific carrier boards
Water quality
water_control
water_quality
Water control
web_app
pond_control
Feeder
Level
Flow
On/off
Web gui for control and monitoring